dicomtool

Usage Manual  v1.5.0

July 28, 2026

A command-line utility for inspecting and modifying DICOM medical imaging files.

Image Response Assessment Team (IRAT)
550 North Broadway, Suite 300
The Sidney Kimmel Comprehensive Cancer Center
The Johns Hopkins University School of Medicine
Baltimore, MD 21205

# 1  Introduction

dicomtool is a command-line utility for processing DICOM medical imaging files without requiring specialist imaging software. It operates on entire directory trees, preserving the original folder structure in its output.

Key capabilities:

Inspect DICOM tag values in one or more files

Set or replace the value of any tag by its numeric identifier or a user-defined alias

Remove specific tags by identifier

Remove all private (odd-group) tags from a file

Apply a positional mask to the Patient Date of Birth field

Append a numeric suffix to all UID fields, with automatic length management

Skip Secondary Capture (screenshot) files during batch processing

Zero out a specified number of pixel rows from the top of each image frame

Correct or remove tags whose Value Representation does not match the DICOM standard

Process multiple files simultaneously using a configurable worker pool

Generate a DICOMDIR index file for the output directory tree

Define named processing profiles combining any of the above operations

Map short alias names to DICOM tag identifiers for convenience

Configuration is stored in two JSON files under ~/.dicomtool/:

tags.json -- tag alias mappings

profiles.json -- named processing profiles

Both files are created automatically with default content on the first invocation.

# 2  Installation

Building from source requires Go 1.21 or later.

git clone <repository-url>

cd dicomtool

go build -o dicomtool.exe .

The resulting dicomtool.exe (Windows) or dicomtool (Linux / macOS) is a single self-contained binary with no runtime dependencies. Copy it anywhere on your PATH.

# 3  Parameter Syntax

All parameters are passed as key:value pairs on the command line. The colon character (:) separates the key from its value. Keys are case-insensitive.

dicomtool <command> key1:value1 key2:value2 ...

Bare arguments that contain no colon are treated as input paths. The following two forms are therefore equivalent:

dicomtool inspect C:\scans\study01

dicomtool inspect input:C:\scans\study01

Parameters that accept multiple values (e.g. set:, remove:, tag:, input:) may be repeated any number of times:

dicomtool modify input:C:\in output:C:\out set:0010,0010=ANON set:0010,0020=ID001 remove:0008,0080

Boolean parameters accept true or 1 (case-insensitive). Any other value, including an empty value, is treated as false.

# 4  Commands Reference

## 4.1  inspect

Parses one or more DICOM files and prints their tag values to the console.

### Syntax

dicomtool inspect input:<file> [input:<file>...] (all:true | tag:<tag> [tag:<tag>...]) [verbose:true]

### Parameters

| Parameter | Description |
| --- | --- |
| input:<file> | Path to a DICOM file to inspect. May be repeated for multiple files. Bare path arguments are also accepted. |
| tag:<tag> | A specific tag to display, in GGGG,EEEE format or as a defined alias. May be repeated. |
| all:true | Display every tag present in the file. Pixel data is reported as a summary line rather than raw bytes. |
| verbose:true | Print additional diagnostic information. |

### Output Format

Each element is printed on one line:

(GGGG,EEEE)  VR  TagName                                  = value

Multi-value fields use the DICOM backslash separator. Binary fields longer than 16 bytes are summarised as <binary, N bytes>. Pixel data is always shown as a summary:

File: C:\scans\image.dcm

(0002,0001)  OB  FileMetaInformationVersion        = 00 01

(0008,0020)  DA  StudyDate                          = 20240115

(0008,0060)  CS  Modality                           = CT

(0010,0010)  PN  PatientName                        = Smith^John

(0010,0030)  DA  PatientBirthDate                   = 19800101

(0020,000D)  UI  StudyInstanceUID                   = 1.2.840.10008...

(7FE0,0010)  OW  PixelData                          = [pixel data: skipped]

### Sequence Fields

Sequence (SQ) elements are expanded inline. Each sequence item is indented four spaces per nesting level:

(0008,1115)  SQ  ReferencedSeriesSequence          [sequence: 1 item(s)]

Item 1:

(0008,1140)  SQ  ReferencedImageSequence            [sequence: 2 item(s)]

Item 1:

(0008,1150)  UI  ReferencedSOPClassUID              = 1.2.840.10008.5.1.4.1.1.2

(0008,1155)  UI  ReferencedSOPInstanceUID           = 1.2.3.4.5.6.7.8

Item 2:

(0008,1150)  UI  ReferencedSOPClassUID              = 1.2.840.10008.5.1.4.1.1.2

(0008,1155)  UI  ReferencedSOPInstanceUID           = 1.2.3.4.5.6.7.9

### Notes

Either all:true or at least one tag: parameter is required.

When using all:true, pixel data is skipped during parsing to avoid loading large image buffers; it is shown as [pixel data: skipped].

When fetching a specific tag (e.g. tag:7FE0,0010), the file is fully parsed and pixel data dimensions are shown.

Tag aliases defined in tags.json are resolved before lookup.

If a requested tag is not present in the file, a not found line is printed and processing continues.

If a file cannot be parsed, an error line is printed and the next file is processed.

Sequence fields are expanded recursively with no depth limit. Very deeply nested sequences are indented accordingly.

### Examples

dicomtool inspect C:\scans\image.dcm all:true

dicomtool inspect input:image.dcm tag:0010,0010 tag:0010,0020

dicomtool inspect input:image.dcm tag:PatientName tag:PatientID

dicomtool inspect input:a.dcm input:b.dcm input:c.dcm all:true

## 4.2  modify

Reads every DICOM file under an input directory tree, applies the specified modifications, and writes the results to an output directory, preserving the original folder structure.

### Syntax

dicomtool modify input:<dir> output:<dir>

[set:<tag>=<value> ...]

[remove:<tag> ...]

[dob:<mask>]

[shiftdays:<n>]

[uid:<suffix>]

[remapuids:true]

[noprivate:true]

[ignoretype:<types>]

[ignoremodality:<modalities>]

[maskrows:<n>]

[fixvr:correct|skip|passthrough]

[workers:<n>]

[zip:true]

[dicomdir:true]

[profile:<name>]

[verbose:true]

### Parameters

| Parameter | Description |
| --- | --- |
| input:<dir> | Source directory. All DICOM files within the tree are processed. Required. |
| output:<dir> | Destination directory. Created if it does not exist. A relative path is resolved against the input directory. Required. |
| set:<tag>=<value> | Set the specified tag to the given value. <tag> may be a raw GGGG,EEEE identifier or a defined alias. Repeatable. |
| remove:<tag> | Remove the specified tag entirely from every output file. <tag> may be a raw identifier or alias. Repeatable. |
| dob:<mask> | Apply an 8-character positional mask to the Patient Date of Birth field (0010,0030). Digit characters in the mask overwrite the corresponding position; any other character preserves the original digit. Format: YYYYMMDD. |
| shiftdays:<n> | Shift every DA (Date) and DT (DateTime) field in each file by n days. n may be negative, zero, or positive. For DT fields, only the leading date component moves; the time, fraction, and timezone portion is preserved unchanged. Patient Date of Birth (0010,0030) is never affected by shiftdays: — use dob: for that field instead. |
| uid:<suffix> | Append .<suffix> to every UID field in each file. If the result would exceed 64 characters the last dot-delimited component is replaced instead of appended. <suffix> must contain digits only. Transfer Syntax UIDs are excluded. Mutually exclusive with remapuids:true. |
| remapuids:true | Replace every study, series, and instance UID — and all references to them — with a freshly generated UID. Remapping is consistent across the entire run: the same source UID always maps to the same new UID in every file, so study/series/instance relationships and internal cross-references are preserved while linkage to the source is severed. SOP Class UIDs, Transfer Syntax UIDs, and the Implementation Class UID are left unchanged so files remain valid. Cannot be combined with uid:. |
| noprivate:true | Remove all private tags (those with an odd group number) before writing output. |
| ignoretype:<types> | Skip files whose Image Type tag (0008,0008) contains any of the supplied comma-delimited values. Comparison is case-insensitive. Example: ignoretype:SECONDARY,DERIVED. |
| ignoremodality:<modalities> | Skip files whose Modality tag (0008,0060) matches any of the supplied comma-delimited values. Comparison is case-insensitive. Example: ignoremodality:SC,PR. |
| maskrows:<n> | Zero out the first n pixel rows from the top of each image frame. Applies only to uncompressed (native) pixel data; compressed files produce a warning when verbose:true is set. n must be a positive integer. |
| fixvr:correct¦skip¦passthrough | Handle tags whose Value Representation (VR) does not match the DICOM standard dictionary. correct attempts to re-encode the tag value under the correct VR, falling back to removal if the conversion is not possible. skip silently removes all mismatched tags. passthrough writes the file as-is, suppressing the VR verification error. Private and unknown tags are always kept unchanged. When verbose:true is set, each affected tag is reported. |
| workers:<n> | Number of files to process simultaneously. Defaults to the number of logical CPU cores. Set to 1 to process files serially. Set to 0 to restore the default. |
| zip:true | Package all output files into a single ZIP archive instead of writing them to a directory. The output: path is used as the ZIP file name; a .zip extension is appended automatically if not already present. Cannot be combined with dicomdir:true. |
| dicomdir:true | After all files have been written, generate a DICOMDIR index file in the output directory. Cannot be combined with zip:true. |
| profile:<name> | Apply a named processing profile from profiles.json. CLI parameters take precedence over profile values. See Section 6. |
| errorlog:txt¦csv¦json | When one or more files fail, write the detailed per-file error messages to an ERROR.<ext> file in the root of the output directory instead of the console, in the chosen format. Without this parameter, the details print to the console. See the Error Handling subsection. |
| verbose:true | Print a line for each file written, per-operation diagnostics, and a summary count on completion. |

### Processing Order

Operations are applied in the following order within each file:

1. Parse source file

2. Correct or remove VR-mismatched tags (if fixvr: supplied)

3. Skip file if Image Type (0008,0008) matches any ignoretype: value (file is not written to output)

4. Skip file if Modality (0008,0060) matches any ignoremodality: value (file is not written to output)

5. Remove private tags (if noprivate:true)

6. Apply explicit remove: removals

7. Shift DA/DT date fields (if shiftdays: supplied)

8. Apply DOB mask (if dob: supplied)

9. Apply UID suffix (if uid: supplied) or remap UIDs (if remapuids:true)

10. Apply row mask (if maskrows: supplied)

11. Apply all set: edits

12. Write output file to directory, or to the ZIP archive if zip:true

### Non-DICOM Files

Files that do not carry the DICOM magic bytes (DICM at byte offset 128) are silently skipped regardless of file name or extension.

### Error Handling

Processing is resilient: a file that cannot be read, parsed, or written is recorded as a failure and skipped, and the run continues with the remaining files. One bad file never aborts an entire batch.

On completion a summary is always printed in the form N file(s) processed, M file(s) failed (the failed clause appears only when at least one file failed). When any file fails, the command exits with a non-zero status so scripts and pipelines can detect partial failures.

The detailed per-file error messages are, by default, printed to the console after the summary. Supplying errorlog:<format> instead redirects them into a file named ERROR.<ext> written in the root of the output directory (for ZIP output, alongside the archive). The file is created only when at least one file failed. Three formats are supported:

errorlog:txt — plain text: a processed/failed header followed by one file: error line per failure.

errorlog:csv — comma-separated values with a file,error header row, suitable for spreadsheets.

errorlog:json — a machine-readable object with processed and failed counts and an errors array of {file, error} entries.

### Examples

dicomtool modify input:C:\original output:C:\deidentified

set:0010,0010=ANONYMOUS set:0010,0020=ID001

remove:0008,0080 noprivate:true verbose:true

dicomtool modify input:C:\study output:converted

profile:anonymize dicomdir:true

dicomtool modify input:C:\study output:C:\out

set:PatientName=ANON ignoremodality:SC maskrows:10

dicomtool modify input:C:\study output:C:\deidentified

set:PatientName=ANON set:PatientID=ANON

noprivate:true remapuids:true

dicomtool modify input:C:\study output:C:\out\study.zip zip:true

set:PatientName=ANON noprivate:true

dicomtool modify input:C:\study output:C:\out fixvr:correct

set:PatientName=ANON noprivate:true

dicomtool modify input:C:\study output:C:\out workers:8

set:PatientName=ANON noprivate:true

dicomtool modify input:C:\study output:C:\deidentified

profile:base-deident errorlog:json

dicomtool modify input:C:\study output:C:\deidentified

shiftdays:-45 noprivate:true

## 4.3  tags

Manages the tag alias mappings stored in ~/.dicomtool/tags.json. Aliases let you use a short readable name wherever a GGGG,EEEE tag identifier is required.

### tags list

Lists all defined aliases.

dicomtool tags list

### tags add

Adds or updates an alias. <phrase> is the alias name; <tag> must be a valid GGGG,EEEE identifier.

dicomtool tags add <phrase> <tag>

dicomtool tags add PatientName 0010,0010

dicomtool tags add AccessionNumber 0008,0050

dicomtool tags add InstitutionName 0008,0080

### tags remove

Removes an existing alias.

dicomtool tags remove <phrase>

dicomtool tags remove PatientName

## 4.4  profiles

Manages named processing profiles stored in ~/.dicomtool/profiles.json. A profile bundles a set of modify parameters under a single name that can be applied with profile:<name>.

### profiles list

Lists the names of all defined profiles.

dicomtool profiles list

### profiles show

Prints the JSON definition of a named profile.

dicomtool profiles show <name>

dicomtool profiles show anonymize

### profiles add

Creates or completely replaces a profile. Parameters are the same key:value pairs accepted by the modify command, excluding input:, output:, and profile:. An optional base:<name> parameter may reference an existing profile whose settings are inherited.

dicomtool profiles add <name>

[base:<name>]

[set:<tag>=<value> ...] [remove:<tag> ...]

[dob:<mask>] [uid:<suffix>] [remapuids:true]

[noprivate:true] [maskrows:<n>]

[dicomdir:true] [verbose:true]

dicomtool profiles add anonymize

set:PatientName=ANON set:PatientID=ANON set:AccessionNumber=

dob:YYYY0101 noprivate:true

dicomtool profiles add research base:anonymize set:PatientID=RESEARCH001

Tag aliases are resolved to raw identifiers at save time, so profiles remain portable even if the alias definitions change later.

When base:<name> is supplied the named profile must already exist in the store. The base chain is resolved at runtime so any subsequent changes to the base profile are automatically reflected in derived profiles.

### profiles remove

Deletes a profile.

dicomtool profiles remove <name>

## 4.5  version

Prints the application version string.

dicomtool version

## 4.6  install

Writes the built-in default tags.json and profiles.json to the standard configuration directory (~/.dicomtool/), unconditionally overwriting any existing files.

### Syntax

dicomtool install

### Description

Use install to reset your configuration to the factory defaults. This is useful when:

You have corrupted or accidentally deleted your configuration files.

You want to start fresh after making unwanted manual edits.

You are setting up dicomtool on a new machine and want the default aliases and sample profile in place immediately.

Unlike the automatic first-run creation (which only creates files that do not already exist), install always overwrites both files even if they already exist.

### Output

Two lines are printed confirming the written paths:

written: C:\Users\username\.dicomtool\tags.json

written: C:\Users\username\.dicomtool\profiles.json

### Notes

The configuration directory (~/.dicomtool/) is created if it does not exist.

Any existing customisations in tags.json or profiles.json are permanently replaced. Back up the files first if you want to preserve them.

install takes no parameters.

### Examples

dicomtool install

# 5  Tag Aliases

## 5.1  Overview

Tag aliases map a short readable phrase to a full DICOM tag identifier in GGGG,EEEE hex format. Once defined, the phrase can be used anywhere a tag identifier is accepted: set:, remove:, tag:, and profiles add.

Aliases are stored in ~/.dicomtool/tags.json and loaded automatically on every invocation. A custom file location can be specified with config:<path>.

## 5.2  File Format

The file is a flat JSON object mapping alias names to tag strings:

{

"PatientName":     "0010,0010",

"PatientID":       "0010,0020",

"AccessionNumber": "0008,0050",

"InstitutionName": "0008,0080"

}

## 5.3  Alias Resolution

Alias resolution is case-sensitive and exact. If a supplied identifier is not found in the alias table it is used as-is and must therefore be a valid GGGG,EEEE string.

Resolution occurs at the following points:

inspect tag:<phrase> -- resolved before display

modify set:<phrase>=<value> -- resolved before applying the edit

modify remove:<phrase> -- resolved before removing the tag

profiles add set:<phrase>=<value> -- resolved and stored as raw tag at save time

Profile merge at runtime -- CLI and profile set entries are both resolved for per-tag deduplication (see Section 6.3)

## 5.4  Default Aliases

The default tags.json shipped with the binary defines the following aliases:

| Alias | Tag |
| --- | --- |
| TransferSyntaxUID | 0002,0010 |
| ReferencedTransferSyntaxUID | 0004,1512 |
| StudyDate | 0008,0020 |
| StudyTime | 0008,0030 |
| AccessionNumber | 0008,0050 |
| Modality | 0008,0060 |
| Manufacturer | 0008,0070 |
| InstitutionName | 0008,0080 |
| InstitutionAddress | 0008,0081 |
| ReferringPhysicianName | 0008,0090 |
| SeriesDescription | 0008,103E |
| StudyDescription | 0008,1030 |
| PatientName | 0010,0010 |
| PatientID | 0010,0020 |
| PatientDOB | 0010,0030 |
| PatientSex | 0010,0040 |
| PatientAge | 0010,1010 |
| ProtocolName | 0018,1030 |
| StudyInstanceUID | 0020,000D |
| SeriesInstanceUID | 0020,000E |
| StudyID | 0020,0010 |
| SeriesNumber | 0020,0011 |
| InstanceNumber | 0020,0013 |
| ConfidentialityCode | 0040,1008 |

The full content of the default file is reproduced in Appendix A.

# 6  Processing Profiles

## 6.1  Overview

A profile is a named collection of modify parameters stored in ~/.dicomtool/profiles.json. Activating a profile with profile:<name> applies all its parameters as if they had been typed on the command line.

Profiles are intended to capture a recurring workflow -- for example a de-identification recipe -- so it can be applied consistently without retyping long parameter lists.

## 6.2  File Format

{

"anonymize": {

"set":            ["0010,0010=ANON", "0010,0020=ANON", "0008,0050="],

"remove":         ["0008,0080", "0008,0081"],

"keep":           [],

"dob":            "YYYY0101",

"uid":            "9999",

"remapuids":      false,

"noprivate":      true,

"keepprivate":    false,

"maskrows":       0,

"ignoretype":     ["SECONDARY"],

"ignoremodality": ["SC", "PR"],

"fixvr":          "correct",

"dicomdir":       false,

"verbose":        false,

"per-modality":   {}

}

}

All fields are optional. Omitted fields take their command-line defaults.

The keep field lists tags that are excluded from the removal list. The keepprivate field suppresses noprivate for files processed by this profile. The per-modality field maps DICOM Modality values to override settings applied only to files of that modality (see Section 6.7).

The full content of the default profiles.json is reproduced in Appendix A.

## 6.3  CLI Override Precedence

When both a profile and command-line parameters are supplied, the following merge rules apply:

| Parameter type | Merge rule |
| --- | --- |
| dob, uid | CLI value wins. The profile value is ignored if the parameter was supplied on the command line. |
| maskrows | CLI value wins. The profile value is ignored if maskrows: was supplied on the command line. |
| noprivate, dicomdir, verbose | Either source can enable the flag. If either the CLI or the profile sets it to true, the flag is active. |
| set | Per-tag precedence. For each tag in the profile's set list, if the same tag (after alias resolution) appears in the CLI set list, the CLI value is used and the profile value is discarded. Tags only in the profile are added. |
| remove | Additive union. Tags from both the CLI and the profile are removed. |
| ignoretype, ignoremodality | Additive union. Values from both the CLI and the profile are combined, with duplicates removed. |
| fixvr | CLI value wins. The profile value is used only if fixvr: was not supplied on the command line. |

This means a profile establishes a baseline that can be partially overridden at runtime. For example, a profile that sets PatientName to ANON can be overridden for a specific run with set:PatientName=Smith without affecting any other profile parameters.

## 6.4  Base Profile Inheritance

A profile can inherit the settings of another profile by specifying base:<name> when it is created. When the derived profile is applied, the base chain is resolved at runtime: the base profile's settings are applied first, then the derived profile's settings are merged on top using the same precedence rules described in Section 6.3.

Example: create a base anonymization profile, then derive a research variant that keeps the same de-identification rules but overrides the Patient ID:

dicomtool profiles add anonymize

set:PatientName=ANON set:PatientID=ANON

set:AccessionNumber= dob:YYYY0101 noprivate:true

dicomtool profiles add research base:anonymize set:PatientID=RESEARCH001

Applying the research profile is equivalent to applying anonymize with set:PatientID=RESEARCH001 added. All other anonymize settings -- PatientName, AccessionNumber, dob, noprivate -- are inherited unchanged.

Merge rules for base inheritance:

| Parameter type | Merge rule |
| --- | --- |
| dob, uid | Derived value wins if non-empty; otherwise base value is used. |
| maskrows | Derived value wins if greater than zero; otherwise base value is used. |
| noprivate, dicomdir, verbose, keepprivate | OR'd: either base or derived being true activates the flag. |
| set | Per-tag precedence. Derived profile wins for any tag it defines; base contributes remaining tags. |
| remove | Union of both lists, deduplicated. |
| keep | Tags listed in the derived profile's keep list are removed from the merged remove list. A derived profile can restore tags that a parent removes. |
| ignoretype, ignoremodality | Union of both lists, deduplicated (case-insensitive). |
| fixvr | Derived value wins if non-empty; otherwise base value is used. |
| per-modality | Maps are merged per modality key. Derived entry wins for any modality it defines; base contributes remaining modalities. Entries for the same modality are themselves merged using these same rules. |

Base chains may be arbitrarily deep (profile A bases on B, which bases on C, and so on). Circular references are detected and reported as an error.

## 6.5  Modifying an Existing Profile

profiles add always performs a complete replace. To update a profile, re-run profiles add with the full desired parameter set. Alternatively, edit ~/.dicomtool/profiles.json directly in a text editor -- the file is plain JSON.

To view the current definition before editing:

dicomtool profiles show anonymize

## 6.6  Setting a Tag to an Empty String in a Profile

To store an empty value for a tag (e.g. to blank the Accession Number), use set:<tag>= with nothing after the = sign:

dicomtool profiles add anonymize set:AccessionNumber=

This stores "0008,0050=" in the profile's set list, which causes the tag to be written as an empty string when the profile is applied.

## 6.7  Per-Modality Overrides

A profile can define different processing rules for individual DICOM modalities using the per-modality field. When a file is processed, its Modality tag (0008,0060) is checked against the map; if a matching entry exists, its settings are layered on top of the base profile settings for that file only.

Per-modality overrides are additive: they do not replace the base profile, they extend it. The supported fields within a per-modality entry are: set, remove, keep, keepprivate, dob, uid, fixvr, maskrows, and noprivate. The per-modality and base fields are not supported inside a per-modality entry.

Modality keys are matched case-insensitively. Tag aliases are resolved the same way as in top-level profile fields.

Merge rules for per-modality overrides (applied at runtime, per file):

| Field | Behaviour when modality matches |
| --- | --- |
| set | Override entries win per tag; base profile tags not overridden are kept. |
| remove | Union with base removals. Override adds to the list. |
| keep | Tags listed are subtracted from the combined removal list. Use to restore a tag that the base profile removes for all other modalities. |
| keepprivate: true | Suppresses noprivate for matched files, even when the base profile enables it. Lets private tags be preserved for a specific modality. |
| noprivate: true | Forces private tag removal for matched files, even if the base profile does not enable it. |
| dob, uid, fixvr | Replaces the base value when non-empty. |
| maskrows | Replaces the base value when greater than zero. |

Example — remove Image Type for all modalities except MR; strip private tags everywhere except PT:

{

"study-deident": {

"set":       ["PatientName=ANON", "PatientID=ANON"],

"remove":    ["8,8"],

"noprivate": true,

"fixvr":     "correct",

"per-modality": {

"MR": {

"keep": ["8,8"]

},

"PT": {

"keepprivate": true

},

"CT": {

"remove": ["18,1400", "18,1401"],

"set":    ["Manufacturer="]

}

}

}

}

When verbose:true is active, a line is printed for each file that triggers a per-modality override, identifying the modality key that was matched. This provides an audit trail for de-identification workflows.

# 7  Configuration Files

## 7.1  Default Locations

| File | Default path |
| --- | --- |
| Tag aliases | %USERPROFILE%\.dicomtool\tags.json |
| Profiles | %USERPROFILE%\.dicomtool\profiles.json |

On Linux and macOS the directory is ~/.dicomtool/.

## 7.2  Auto-creation

Both files are created automatically on the first invocation of any dicomtool command if they do not already exist. The files are seeded with default content -- the built-in alias table and a sample anonymization profile -- so they are immediately usable and serve as a starting point for customisation.

If the directory ~/.dicomtool/ does not exist it is created at the same time.

## 7.3  Custom Config Path

The tag alias file location can be overridden per-invocation with config:<path>. This does not affect the profile file location.

dicomtool modify input:C:\in output:C:\out config:D:\configs\custom-tags.json set:PatientName=ANON

## 7.4  Error Handling

Configuration errors always print to stderr regardless of the verbose: setting. If a configuration file exists but contains invalid JSON, an error is printed and the file is treated as empty. Processing continues with no aliases or profiles loaded.

error: could not load tag aliases from "...": invalid character ...

error: could not load profiles from "...": invalid character ...

error: profile "name": profile "name" not found

# 8  Examples

## 8.1  Inspecting All Tags in a File

Print every tag and value in a DICOM file:

dicomtool inspect C:\scans\image.dcm all:true

Inspect selected tags using aliases:

dicomtool inspect input:image.dcm tag:PatientName tag:PatientID tag:StudyDate

Inspect multiple files at once:

dicomtool inspect input:a.dcm input:b.dcm all:true

## 8.2  Replacing a Tag Value

Set the Referring Physician Name (0008,0090) to an empty string:

dicomtool modify input:C:\study output:C:\out set:0008,0090=

Set the Patient Name using a defined alias:

dicomtool modify input:C:\study output:C:\out set:PatientName=SMITH^JOHN

## 8.3  Setting Multiple Tags in One Pass

dicomtool modify input:C:\study output:C:\out

set:PatientName=ANON

set:PatientID=ID001

set:AccessionNumber=

set:0008,0090=

## 8.4  Removing a Specific Tag

Remove the Institution Name tag entirely:

dicomtool modify input:C:\study output:C:\out remove:0008,0080

Remove multiple tags:

dicomtool modify input:C:\study output:C:\out remove:0008,0080 remove:0008,0081 remove:0032,1032

## 8.5  Removing All Private Tags

Private tags have an odd group number. The noprivate:true flag removes all of them:

dicomtool modify input:C:\study output:C:\out noprivate:true

## 8.6  Masking the Date of Birth

The dob:<mask> parameter applies a positional replacement to the Patient Date of Birth field (0010,0030). The mask must be exactly 8 characters in YYYYMMDD format. A digit character in the mask replaces the corresponding position; any non-digit character leaves the original digit unchanged.

Retain the year, replace month and day with January 1st:

dicomtool modify input:C:\study output:C:\out dob:YYYY0101

Replace the entire date with a fixed value:

dicomtool modify input:C:\study output:C:\out dob:19000101

Retain year and month, replace only the day:

dicomtool modify input:C:\study output:C:\out dob:YYYYMM01

## 8.7  Shifting Date Fields

The shiftdays:<n> parameter shifts every DA (Date) and DT (DateTime) field by n days, preserving the interval between dates within a study (e.g. days between a baseline and follow-up exam) without exposing the real calendar dates. n may be negative, zero, or positive. Patient Date of Birth (0010,0030) is never touched by shiftdays: -- combine it with dob: if the birth date also needs to be masked.

Shift every date back by 45 days:

dicomtool modify input:C:\study output:C:\out shiftdays:-45

Combine with other de-identification steps:

dicomtool modify input:C:\study output:C:\out

set:PatientName=ANON dob:YYYY0101 noprivate:true shiftdays:-45

For a DT field such as AcquisitionDateTime (0008,002A), only the leading YYYYMMDD date component is shifted; the time, fraction, and timezone portion is left exactly as it was.

## 8.8  Appending a UID Suffix

Append .9999 to all UID fields. If a UID would exceed 64 characters, the last dot-delimited component is replaced instead of appended:

dicomtool modify input:C:\study output:C:\out uid:9999

Transfer Syntax UIDs (0002,0010) and Referenced Transfer Syntax UIDs (0004,1512) are excluded from modification as they describe the file encoding.

## 8.9  Skipping Files by Image Type or Modality

Use ignoretype: to skip files whose Image Type tag (0008,0008) contains any of the supplied values, and ignoremodality: to skip files whose Modality tag (0008,0060) matches any of the supplied values. Both parameters accept comma-delimited lists and comparisons are case-insensitive.

Skip Secondary Capture files by modality and image type:

dicomtool modify input:C:\study output:C:\out

set:PatientName=ANON ignoremodality:SC ignoretype:SECONDARY

Skip presentation state and registration objects:

dicomtool modify input:C:\study output:C:\out ignoremodality:PR,REG

Skipped files are omitted from the output. With verbose:true a line is printed for each skipped file:

skipped (secondary capture): C:\study\series1\screen001.dcm

## 8.10  Masking Pixel Rows

The maskrows:<n> parameter zeros out the first n pixel rows from the top of every image frame. This is useful for removing patient demographics or institution names that are burned into the image pixel data rather than stored as separate DICOM tags.

Zero the top 20 rows of each frame:

dicomtool modify input:C:\study output:C:\out maskrows:20

Combine with other de-identification steps:

dicomtool modify input:C:\study output:C:\out

set:PatientName=ANON dob:YYYY0101 noprivate:true

ignoremodality:SC ignoretype:SECONDARY maskrows:20 verbose:true

With verbose:true a confirmation is printed for each file where rows are successfully zeroed:

maskrows: zeroed top 20 row(s) across 1 frame(s)

Note: maskrows operates only on uncompressed (native) pixel data. Files with JPEG or JPEG-LS compression are skipped with a warning when verbose:true is set:

maskrows: pixel data is compressed (encapsulated) -- skipping

## 8.11  Full De-identification Without a Profile

dicomtool modify input:C:\original output:C:\deidentified

set:PatientName=ANON

set:PatientID=ANON001

set:AccessionNumber=

remove:0008,0080

remove:0008,0081

remove:0008,0090

dob:YYYY0101

uid:9999

noprivate:true

ignoremodality:SC

ignoretype:SECONDARY

maskrows:20

verbose:true

## 8.12  Applying a Profile

dicomtool modify input:C:\study output:C:\out profile:anonymize

## 8.13  Overriding a Profile Parameter

The PatientID value from the profile is replaced by STUDY42; all other profile parameters apply unchanged:

dicomtool modify input:C:\study output:C:\out profile:anonymize set:PatientID=STUDY42

## 8.14  Generating a DICOMDIR

Generate a DICOMDIR index alongside the modified files:

dicomtool modify input:C:\study output:C:\out profile:anonymize dicomdir:true

A DICOMDIR file is written to the root of the output directory after all files have been processed. It is formatted as Explicit VR Little Endian and conforms to PS3.3 of the DICOM standard.

## 8.15  Relative Output Path

A relative output: path is resolved relative to the input: directory. The following two invocations are equivalent when the input is C:\study:

dicomtool modify input:C:\study output:deidentified

dicomtool modify input:C:\study output:C:\study\deidentified

## 8.16  Managing Tag Aliases

# Add aliases

dicomtool tags add PatientName 0010,0010

dicomtool tags add InstitutionName 0008,0080

# List all aliases

dicomtool tags list

# Remove an alias

dicomtool tags remove InstitutionName

## 8.17  Creating and Using a Profile

# Create a profile

dicomtool profiles add anonymize

set:PatientName=ANON

set:PatientID=ANON

set:AccessionNumber=

dob:YYYY0101

noprivate:true

maskrows:20

# List all profiles

dicomtool profiles list

# Inspect the profile definition

dicomtool profiles show anonymize

# Apply it

dicomtool modify input:C:\study output:C:\out profile:anonymize

# Remove the profile

dicomtool profiles remove anonymize

## 8.18  Using Profile Inheritance

Create a base de-identification profile, then derive a study-specific variant that inherits all base settings but overrides the Patient ID:

# Base profile

dicomtool profiles add anonymize

set:PatientName=ANON

set:PatientID=ANON

set:AccessionNumber=

dob:YYYY0101

noprivate:true

# Derived profile -- inherits everything from anonymize,

# but assigns a specific Patient ID for this study

dicomtool profiles add study42 base:anonymize set:PatientID=STUDY0042

# Applying study42 is equivalent to applying anonymize

# with set:PatientID=STUDY0042 overriding the ANON value

dicomtool modify input:C:\study output:C:\out profile:study42

## 8.19  Packaging Output as a ZIP Archive

Use zip:true to write all processed DICOM files into a single ZIP archive instead of an output directory. The archive preserves the original folder structure of the input tree.

dicomtool modify input:C:\study output:C:\out\study.zip zip:true

set:PatientName=ANON noprivate:true

If the output: path does not end in .zip, the extension is appended automatically:

dicomtool modify input:C:\study output:C:\out\study zip:true set:PatientName=ANON

# ZIP is written to C:\out\study.zip

On completion, the full path to the ZIP file is always printed:

42 file(s) written to: C:\out\study.zip

With verbose:true, each entry is listed as it is added:

set 0010,0010 = "ANON"

zipped: series1\CT.1.2.3.dcm

...

### Notes

zip:true and dicomdir:true cannot be combined. Use one or the other.

Each ZIP entry carries the creation timestamp of the run, so extracted files have normal filesystem date attributes.

The internal file paths within the ZIP use forward slashes and are relative to the input directory root.

## 8.20  Handling Tags with Incorrect Value Representations

Some DICOM files contain tags whose stored Value Representation (VR) does not match the DICOM standard. This can occur when equipment vendors write non-conformant files, or when files have been processed by third-party tools that do not validate VRs. By default, dicomtool will return an error when it tries to write such a file. The fixvr: parameter controls how these tags are handled.

Attempt to re-encode each mismatched tag under its correct standard VR. If the re-encoding fails (for example, because the stored bytes cannot be interpreted as the expected type), the tag is removed and reported when verbose:true is set:

dicomtool modify input:C:\study output:C:\out fixvr:correct set:PatientName=ANON

Silently remove all tags with an incorrect VR without attempting correction:

dicomtool modify input:C:\study output:C:\out fixvr:skip set:PatientName=ANON

Preserve the file exactly as-is, writing the incorrect VR to the output without raising an error:

dicomtool modify input:C:\study output:C:\out fixvr:passthrough set:PatientName=ANON

### Modes

| Mode | Behaviour |
| --- | --- |
| correct | Re-encodes the tag value under the standard VR. Supports string, integer, and float conversions. Tags that cannot be converted are removed. Private and unknown tags are kept unchanged. |
| skip | Removes any tag whose VR does not match the standard dictionary. Private and unknown tags are kept unchanged. |
| passthrough | Disables VR verification on write. Tags are written to the output file exactly as parsed, preserving the incorrect VR. |

### Notes

Only tags present in the DICOM standard dictionary are checked. Private tags (odd group numbers) and tags not found in the dictionary are always kept.

fixvr applies recursively to all elements, including those nested within sequence (SQ) items at any depth.

With verbose:true, each affected tag is reported with its original and target VR.

fixvr:correct is the safest option for most non-conformant files. Use fixvr:passthrough only when you need to preserve the original encoding exactly.

fixvr can be set in a processing profile via the fixvr key (see Section 6).

## 8.21  Parallel Processing

By default, dicomtool processes files using all available CPU cores simultaneously. For large studies this can significantly reduce total run time compared to serial processing.

Process files using 8 worker goroutines:

dicomtool modify input:C:\study output:C:\out workers:8 set:PatientName=ANON

Use all available CPU cores (default behaviour):

dicomtool modify input:C:\study output:C:\out set:PatientName=ANON

Process files one at a time (serial, equivalent to pre-1.1.1 behaviour):

dicomtool modify input:C:\study output:C:\out workers:1 set:PatientName=ANON

### Notes

Setting workers:0 is equivalent to omitting the parameter -- the default (CPU core count) is used.

When writing to a ZIP archive (zip:true), file processing is parallel but archive writes are serialised internally, so the output ZIP is always valid.

With verbose:true, output lines from different workers may be interleaved. The final summary count and any errors are always accurate regardless of worker count.

Setting workers: higher than the number of files in the input tree has no effect -- the pool is capped at the job count automatically.

## 8.23  Resetting Configuration to Defaults

To restore both tags.json and profiles.json to their factory defaults, overwriting any existing customisations:

dicomtool install

Sample output:

written: C:\Users\username\.dicomtool\tags.json

written: C:\Users\username\.dicomtool\profiles.json

## 8.24  Verbose Mode

With verbose:true, each written file path, per-operation diagnostics, and a summary count are printed to stdout:

dicomtool modify input:C:\study output:C:\out set:PatientName=ANON maskrows:10 verbose:true

Sample output:

set 0010,0010 = "ANON"

maskrows: zeroed top 10 row(s) across 1 frame(s)

written: C:\out\series1\image001.dcm

3 file(s) processed

Without verbose:true only errors and warnings are shown.

# 9  Tag Format Reference

## 9.1  GGGG,EEEE Format

DICOM tags are identified by a group number and an element number, both 16-bit hex values written as GGGG,EEEE. Leading zeros may be omitted but both components are required.

0010,0010   Patient Name

0010,0020   Patient ID

0008,0050   Accession Number

0008,0060   Modality

0020,000D   Study Instance UID

0020,000E   Series Instance UID

0008,0018   SOP Instance UID

## 9.2  Commonly Used Tags

| Tag | Name |
| --- | --- |
| 0008,0020 | Study Date |
| 0008,0030 | Study Time |
| 0008,0050 | Accession Number |
| 0008,0060 | Modality |
| 0008,0070 | Manufacturer |
| 0008,0080 | Institution Name |
| 0008,0081 | Institution Address |
| 0008,0090 | Referring Physician Name |
| 0008,103E | Series Description |
| 0008,1030 | Study Description |
| 0010,0010 | Patient Name |
| 0010,0020 | Patient ID |
| 0010,0030 | Patient Birth Date |
| 0010,0040 | Patient Sex |
| 0010,1010 | Patient Age |
| 0018,1030 | Protocol Name |
| 0020,000D | Study Instance UID |
| 0020,000E | Series Instance UID |
| 0020,0010 | Study ID |
| 0020,0011 | Series Number |
| 0020,0013 | Instance Number |

## 9.3  Private Tags

Tags whose group number is odd (e.g. 0009,xxxx, 0019,xxxx) are private tags used by specific vendors or applications. They are not standardised. The noprivate:true flag removes all such tags from every output file.

## 9.4  Transfer Syntax and UID Exclusions

The following UID tags are excluded from the uid:<suffix> operation because they describe the encoding of the file itself and must remain valid, recognised values:

| Tag | Name |
| --- | --- |
| 0002,0010 | Transfer Syntax UID |
| 0004,1512 | Referenced Transfer Syntax UID in File |

The uid:<suffix> operation appends a numeric suffix to UIDs, leaving the original value embedded in the result. This is suitable for lightweight namespacing but is reversible and does not break linkage to the source.

For de-identification, remapuids:true instead replaces each UID with a freshly generated value. Remapping uses a single shared table for the entire run, so the same source UID always maps to the same new UID in every file. This preserves the study/series/instance hierarchy and every internal reference (for example ReferencedSOPInstanceUID values nested inside sequences continue to point at the correct, remapped instances) while severing any link back to the originating system. New UIDs use the ISO 2.25 UUID-derived root and are unique per run; re-running the command produces a different set of UIDs.

UIDs beginning with the DICOM standard root 1.2.840.10008. (SOP Class UIDs, Transfer Syntax UIDs, and other well-known values), together with the Implementation Class UID (0002,0012), are never remapped because they identify the object type, encoding, and creating software rather than the patient or study. remapuids:true and uid:<suffix> cannot be used together.

## 9.5  Filtering by Modality and Image Type

Files can be excluded from processing based on their Modality (0008,0060) or Image Type (0008,0008) tags using the ignoremodality: and ignoretype: parameters. Both accept comma-delimited lists and perform case-insensitive comparisons.

Common use cases:

| Example | Effect |
| --- | --- |
| ignoremodality:SC | Skip Secondary Capture files (screen captures, annotation overlays) |
| ignoremodality:PR | Skip Presentation State objects |
| ignoremodality:SC,PR,REG | Skip multiple modality types in one pass |
| ignoretype:SECONDARY | Skip files with SECONDARY in their Image Type field |
| ignoretype:DERIVED,SECONDARY | Skip derived or secondary image types |

# 10  Output and Error Behaviour

| Condition | Behaviour |
| --- | --- |
| Non-DICOM file encountered in input tree | Silently skipped |
| File matches ignoremodality: or ignoretype: value | Skipped and not written to output (logged with verbose:true) |
| Output directory does not exist | Created automatically (including intermediate directories) |
| Tag not present in source file | For set: operations the tag is inserted; for remove: it is a no-op |
| Relative output: path | Resolved relative to the input: directory |
| tags.json has invalid JSON | Error printed to stderr; aliases treated as empty |
| profiles.json has invalid JSON | Error printed to stderr; profiles treated as empty |
| Named profile not found | Error printed to stderr; profile is not applied |
| Base profile not found during inheritance resolution | Error printed to stderr; profile is not applied |
| Circular base reference in profile chain | Error printed to stderr; profile is not applied |
| maskrows: on compressed pixel data | Frame skipped; warning printed when verbose:true |
| inspect file parse error | Error printed per file; remaining files continue to be processed |
| inspect tag not found in file | not found printed for that tag; remaining tags continue |
| install config directory does not exist | Directory created automatically before writing files |
| zip:true with dicomdir:true | Error returned; the two options cannot be combined |
| zip:true output path has no .zip extension | .zip is appended automatically |

# Appendix A  Default Configuration Files

The following files are written to ~/.dicomtool/ on the first run of any dicomtool command, and can be restored at any time with dicomtool install.

## A.1  tags.json

Maps short alias names to DICOM tag identifiers. Any alias defined here can be used in place of a raw GGGG,EEEE identifier on the command line or in a profile.

{

"TransferSyntaxUID":          "0002,0010",

"ReferencedTransferSyntaxUID": "0004,1512",

"StudyDate":                  "0008,0020",

"StudyTime":                  "0008,0030",

"AccessionNumber":            "0008,0050",

"Modality":                   "0008,0060",

"Manufacturer":               "0008,0070",

"InstitutionName":            "0008,0080",

"InstitutionAddress":         "0008,0081",

"ReferringPhysicianName":     "0008,0090",

"SeriesDescription":          "0008,103E",

"StudyDescription":           "0008,1030",

"PatientName":                "0010,0010",

"PatientID":                  "0010,0020",

"PatientDOB":                 "0010,0030",

"PatientSex":                 "0010,0040",

"PatientAge":                 "0010,1010",

"ProtocolName":               "0018,1030",

"StudyInstanceUID":           "0020,000D",

"SeriesInstanceUID":          "0020,000E",

"StudyID":                    "0020,0010",

"SeriesNumber":               "0020,0011",

"InstanceNumber":             "0020,0013",

"ConfidentialityCode":        "0040,1008"

}

## A.2  profiles.json

Defines two built-in profiles. base-deident is a comprehensive de-identification baseline: it sets patient identity fields to anonymous values, masks the date of birth to year only, removes all private tags, corrects non-standard Value Representations, remaps every study/series/instance UID consistently, and removes over 130 tags commonly associated with identifying information.

{

"base-deident": {

"set": [

"PatientName=ANON",

"PatientID=ANON",

"AccessionNumber=",

"ConfidentialityCode=Y"

],

"remove": [

"8,80",   "8,81",   "8,90",   "8,92",   "8,94",

"8,1010", "8,1032", "8,1040", "8,1048", "8,1050",

"8,1060", "8,1070", "8,1080", "8,1100", "8,1110",

"10,21",  "10,22",  "10,24",

"10,1000","10,1001","10,1002","10,1005","10,1010",

"10,1040","10,1050","10,1060","10,1080","10,1090",

"10,2000","10,2110","10,2150","10,2152","10,2154",

"10,2155","10,2297","10,2298","10,2299",

"10,3020","10,4000","10,21B0","10,21F0",

"18,1400","18,1401",

"20,4000",

"28,300",

"32,1031","32,1032","32,1033",

"38,10",  "38,300", "38,400", "38,500", "38,4000",

"40,275", "40,1001","40,1002","40,1004","40,1005",

"40,2008","40,2009","40,2010","40,2011","40,2016",

"40,2017","40,2400","40,4006","40,4009","40,4010",

"40,4020","40,4021","40,A057","40,A060","40,A066",

"40,A067","40,A068","40,A070","40,A073","40,A075",

"40,A078","40,A123","40,A160","40,A730",

"50,10",

"70,1",   "70,2",   "70,3",   "70,4",   "70,5",

"70,6",   "70,8",   "70,9",   "70,10",  "70,11",

"70,12",  "70,13",  "70,14",  "70,80",  "70,81",

"70,82",  "70,83",  "70,84",  "70,207", "70,208",

"70,209", "70,303",

"72,2",   "72,4",   "72,6",   "72,8",   "72,A",

"72,C",   "72,E",   "72,10",

"400,100","400,105","400,110","400,115","400,120",

"400,402","400,403","400,404","400,561","400,562",

"400,563","400,564","400,565",

"2030,20",

"2110,10","2110,20","2110,30",

"2200,1", "2200,2"

],

"dob":       "YYYY0101",

"noprivate": true,

"fixvr":     "correct",

"remapuids": true

}

}

base-deident-keep-order derives from base-deident and uses keep to restore the 29 group 0040 order-entry, requested-procedure, and Structured Report content tags (e.g. RequestedProcedureID, VerifyingObserverName, SR PersonName/TextValue) that the base profile removes. Use it for workflows where that content is needed and is not itself considered identifying.

{

"base-deident-keep-order": {

"base": "base-deident",

"keep": [

"40,275", "40,1001","40,1002","40,1004","40,1005",

"40,2008","40,2009","40,2010","40,2011","40,2016",

"40,2017","40,2400","40,4006","40,4009","40,4010",

"40,4020","40,4021","40,A057","40,A060","40,A066",

"40,A067","40,A068","40,A070","40,A073","40,A075",

"40,A078","40,A123","40,A160","40,A730"

]

}

}

# Credits

## Developer

Jeffrey Leal

Email: jeffrey.leal@gmail.com

GitHub: https://github.com/jeffrey-leal

## AI Assistance

This application was designed and developed with the assistance of Claude Sonnet 4.6 by Anthropic, accessed through Claude Code (https://claude.ai/code).

Contributions made with AI assistance include:

Application architecture and Go source code

Cobra CLI framework integration and command structure

DICOM tag inspection, modification, and VR correction logic

Profile system design and de-identification workflow

Tag alias and default configuration file content

Build scripts and cross-compilation configuration

User manual, changelog, and project documentation

## DICOM Standard Reference

Protocol implementation and data dictionary usage follow the DICOM Standard published by NEMA:

DICOM PS3 (2024b) — https://dicom.nema.org/medical/dicom/current

## Open-Source Libraries

| Library | Purpose |
| --- | --- |
| github.com/spf13/cobra v1.10.2 | CLI framework — command routing, flag parsing, help generation |
| github.com/suyashkumar/dicom v1.1.0 | DICOM file parsing, data dictionary, and element model |

A full list of all transitive dependencies and their versions is recorded in go.sum.